## Worksheet
CLIENT'S INFORMATION:
PROJECT ID: |  | Maverik C-Store Los Lunas, MN 87031 |  |  | CONTACT:
E-MAIL ADDRESS:
SCOPE: |  | Everything |  |  | PHONE NUMBER:
[5 empty] | Date: | 2021-03-12
ITEM # | DWG. # | DESCRIPTION | QUANTITY | UNIT | UNIT COST (MATERIAL) | UNIT COST (LABOR) | TOTAL COST (MATERIAL+LABOR) | TRADE COST
GENERAL REQUIREMENTS
1 |  | Supervision | 1 | LS | 0 | 0 | 0
2 |  | Permits | 1 | LS | 0 | 0 | 0
3 |  | Final Clean-up | 1 | LS | 0 | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0 | 0 | 0
5 |  | Project Overheads | 1 | LS | 0 | 0 | 0
6 |  | Bonds | 1 | LS | 0 | 0 | 0
7 |  | Temporary Control & Facilities | 1 | LS | 0 | 0 | 0
8 |  | Scaffolding | 6770 | SF | 0 | 0 | 0
|  | Subtotal (General Requirements) | [5 empty] | 0
DIVISION 02- SITE WORK/ EXISTING CONDITIONS
9 |  | Excavation @ Building Foundation | 35 | CY | 0 | 0 | 0
10 |  | Excavation @ Fuel Tank (If Required) | 1583.3333 | CY | 0 | 0 | 0
Site
11 | C1 | (6") Concrete Accessible Parking O/ (5") Crushed Aggregate Base | 502 | SF | 0 | 0 | 0
12 |  | Curb & Gutter | 1249 | LF | 0 | 0 | 0
13 |  | Wedge Bollard | 226 | LF | 0 | 0 | 0
14 |  | (4-6") Concrete @ Side Walk/ Pavement O/ (5") Crushed Aggregate Base | 14068 | SF | 0 | 0 | 0
15 |  | Concrete Dumpster | 692 | SF | 0 | 0 | 0
16 |  | Concrete Bollard | 25 | EA | 0 | 0 | 0
17 |  | Heavy Duty Asphalt Pavement As; (6") Asphalt Course O/ (12") Crushed Aggregate Base | 102436 | SF | 0 | 0 | 0
18 |  | Moderate Duty Asphalt Pavement As; (4") Asphalt Course O/ (8") Crushed Aggregate Base | 7358 | SF | 0 | 0 | 0
19 |  | Maverik Sign | 2 | EA | 0 | 0 | 0
20 |  | (2'-0") Stop Bar | 3 | EA | 0 | 0 | 0
21 |  | Unidirectional HC Ramp | 8 | EA | 0 | 0 | 0
22 |  | (15'x30') Asphalt Air Station | 450 | SF | 0 | 0 | 0
23 |  | RV Sewer Dump | 1 | EA | 0 | 0 | 0
24 |  | ADA Picnic Table | 3 | EA | 0 | 0 | 0
25 |  | Moderate Parking Stall | 805 | LF | 0 | 0 | 0
26 |  | XACTAIP Air Station Base | 1 | EA | 0 | 0 | 0
27 |  | Hoop Bollard | 14 | EA | 0 | 0 | 0
28 |  | Transformer Pad | 41 | SF | 0 | 0 | 0
29 |  | Under Ground Storage Fuel Tanks | 3 | EA | 0 | 0 | 0
30 |  | Stop Sign | 2 | EA | 0 | 0 | 0
31 |  | (6") Thick Concrete @ Water Way O/ (6") Aggregate Base | 60 | SF | 0 | 0 | 0
32 |  | Concrete Pole Foundation (10 EA) | 1.1574 | CY | 0 | 0 | 0
33 |  | Fuel Court Canopy (If Required) | 7650 | SF | 0 | 0 | 0
34 |  | Fuel Canopy Column (If Required) | 11 | EA | 0 | 0 | 0
35 |  | Chain Link Fence | 572 | LF | 0 | 0 | 0
36 |  | CMU Block Retaining Wall (554 LF, Max 8'-0" H) | 4432 | SF | 0 | 0 | 0
37 |  | Reinforced Concrete @ Retaining Wall | 61.5556 | CY | 0 | 0 | 0
38 |  | Mountable Curb/ Concrete Runout Pad | 121 | LF | 0 | 0 | 0
39 |  | Mountable Curb | 85 | LF | 0 | 0 | 0
40 |  | (2'-0") Overflow Drain | 26 | LF | 0 | 0 | 0
41 |  | Do Not Enter Sign | 3 | EA | 0 | 0 | 0
42 |  | Concrete Slab W/ Champhared Corner | 7446 | SF | 0 | 0 | 0
43 |  | (6") Concrete Pad @ Fuel Tank | 2850 | SF | 0 | 0 | 0
44 |  | (6") Concrete Slab @ Fuel Tank | 2850 | SF | 0 | 0 | 0
45 |  | Concrete Wall @ Fuel Tank | 4200 | SF | 0 | 0 | 0
Land Scaping
46 | LP1 | Desert Willow | 9 | EA | 0 | 0 | 0
47 |  | Chinese Pistache | 8 | EA | 0 | 0 | 0
48 |  | Pink Flowering Locust | 6 | EA | 0 | 0 | 0
49 |  | Emerland Sunshine | 8 | EA | 0 | 0 | 0
50 |  | Austrian Pine | 6 | EA | 0 | 0 | 0
51 |  | Texas Sotol | 16 | EA | 0 | 0 | 0
52 |  | Giant Sacaton | 27 | EA | 0 | 0 | 0
53 |  | Three lEAF Sumac | 7 | EA | 0 | 0 | 0
54 |  | Turpentine Bush | 6 | EA | 0 | 0 | 0
55 |  | Apache Plume | 19 | EA | 0 | 0 | 0
56 |  | Sunset Rose Crusher Fines | 6336 | SF | 0 | 0 | 0
Gravels
57 |  | (1") Brown Gravel | 9051 | SF | 0 | 0 | 0
58 |  | (1"-2") Basalt | 10979 | SF | 0 | 0 | 0
59 |  | (2-4") Basalt | 8661 | SF | 0 | 0 | 0
60 |  | (2-4") Gold Gravel | 3960 | SF | 0 | 0 | 0
Utility Plan
61 | C5 | (4") Sanitary Sewer Line | 254 | LF | 0 | 0 | 0
62 |  | (6") Sanitary Sewer Line | 141 | LF | 0 | 0 | 0
63 |  | Gas Line | 599 | LF | 0 | 0 | 0
64 |  | (1") Water Line | 376 | LF | 0 | 0 | 0
65 |  | (2") Domestic Water Line | 260 | LF | 0 | 0 | 0
66 |  | (4") Area Drain W/ Trap | 179 | LF | 0 | 0 | 0
67 |  | (1') Valve | 2 | EA | 0 | 0 | 0
68 |  | (1") Woodford Proof Yard Hydrant | 2 | EA | 0 | 0 | 0
69 |  | Sleeve Sewer Line | 19 | LF | 0 | 0 | 0
70 |  | Grease Trap W/ Sampling Manhole | 1 | EA | 0 | 0 | 0
71 |  | (4") Air Sleeve | 98 | LF | 0 | 0 | 0
72 |  | Trumbull Freeze Proof Water Tower W/ (1) Inch Reduced Pressure Double Check Valve | 1 | EA | 0 | 0 | 0
73 |  | (2") Water Meter | 1 | EA | 0 | 0 | 0
74 |  | Dumpster Enclosure CMU Wall (6'-6" H) | 377 | LF | 0 | 0 | 0
75 |  | Concrete @ Dumpster Wall Base | 7.3252 | CY | 0 | 0 | 0
76 |  | (12'-0"x6'-6") Steel Gate @ Dumpster | 2 | EA | 0 | 0 | 0
77 |  | (6") Día Dumpster Bollard (6'-0" H) | 9 | EA | 0 | 0 | 0
|  | Subtotal (Site Work/ Existing Conditions) | [5 empty] | 0
DIVISION 03- CONCRETE
Foundation
78 | S1.01 | (2'-0"X1'-0") Wall Footing As "WF2.0" (355 LF) | 26.2963 | CY | 0 | 0 | 0
79 |  | (3'-6"x3'-6"x1'-0") Reinf. Concrete Footing As "F 3.5" (4 EA) (4)-#5 EW | 1.8148 | CY | 0 | 0 | 0
80 |  | (4'-0"x4'-0"x1'-0") Reinf. Concrete Footing As "F 4.0" (2 EA) (4)-#5 EW | 1.1852 | CY | 0 | 0 | 0
Slab
81 |  | (4") Thick Reinf. Concrete Slab O.G O/ (6251 SF) (8") Free- Drainage Gravel | 76.4011 | CY | 0 | 0 | 0
82 |  | (6") Concrete Slab O.G O/ (279 SF) (8") Free- Drainage Gravel | 5.1667 | CY | 0 | 0 | 0
83 |  | Vapor Barrier | 6530 | SF | 0 | 0 | 0
Thicken Edge
84 |  | Slab Thicken Edge As "1/S 5.01" (58 LF) | 1.3963 | CY | 0 | 0 | 0
85 |  | Slab Thicken Edge As "2/S5.01" (60 LF) | 1.4889 | CY | 0 | 0 | 0
86 |  | Slab Thicken Edge As "3/S 5.01" (18 LF) | 0.43333 | CY | 0 | 0 | 0
87 |  | Slab Thicken Edge As "6/S 5.01" (39 LF) | 0.95333 | CY | 0 | 0 | 0
Pier
88 |  | (2'-0"x2'-0"x2'-0") Column As "CP 2.0" | 0.2963 | CY | 0 | 0 | 0
|  | Subtotal (Concrete) | [5 empty] | 0
DIVISION 05- METALS
Column
89 | S1.11 | (W 16x14) Column As "C1" (2 EA, 20' H) | 560 | LBS | 0 | 0 | 0
90 |  | (HSS 5x5x1/4) Column As "C2" (4 EA, 19' H) | 1187.12 | LBS | 0 | 0 | 0
91 |  | (HSS 5x5x3/16) Column As "C3" (2 EA, 19' H) | 454.86 | LBS | 0 | 0 | 0
Simpson
92 |  | S/HDU4 | 4 | EA | 0 | 0 | 0
93 |  | S/HDU9 | 2 | EA | 0 | 0 | 0
Roof
94 |  | Steel Truss | 37 | LF | 0 | 0 | 0
95 |  | Header As "HDR-1" (3)800S162-43+(3)600T200-43 | 12 | LF | 0 | 0 | 0
96 |  | Header As "HDR-2" (3)1000S162-97+(3)600T200-97 | 16 | LF | 0 | 0 | 0
97 |  | Header As "HDR-3" (3)1200S162-97+(3)600T200-97 | 13 | LF | 0 | 0 | 0
98 |  | Header As "HDR-4" (3)1000S162-97+(3)600T200-97 | 31 | LF | 0 | 0 | 0
99 |  | Header As "HDR-5" (3)1000S162-97+(3)600T200-97 | 19 | LF | 0 | 0 | 0
100 |  | Roof Truss As "10 KSP" | 121 | LF | 0 | 0 | 0
101 |  | Roof Truss As "24 LH (240/110)" | 59 | LF | 0 | 0 | 0
102 |  | Roof Truss As "24 LH (275/125)" | 50 | LF | 0 | 0 | 0
103 |  | Roof Truss As "32 LH" | 677 | LF | 0 | 0 | 0
104 |  | HSS (4x4x3/16) (11 LF) | 103.62 | LBS | 0 | 0 | 0
105 |  | Roof Steel Joist | 59 | LF | 0 | 0 | 0
106 |  | C 8x13.7 (47 LF) | 643.9 | LBS | 0 | 0 | 0
107 |  | L 3x3x1/4 (114 LF) | 558.6 | LBS | 0 | 0 | 0
108 |  | L 6x4x5/16 (LLV) (411 LF) | 4233.3 | LBS | 0 | 0 | 0
109 |  | L 5x3x1/4 (411 LF) | 2712.6 | LBS | 0 | 0 | 0
110 |  | MC 12x10.6 (84 LF) | 890.4 | LBS | 0 | 0 | 0
111 |  | L 2x2x1/4 (84 LF) | 273.84 | LBS | 0 | 0 | 0
112 |  | MC 6x15.3 (56 LF) | 856.8 | LBS | 0 | 0 | 0
113 |  | W 12x40 (36 LF) | 1440 | LBS | 0 | 0 | 0
114 |  | W 12x53 (24 LF) | 1272 | LBS | 0 | 0 | 0
115 |  | W 16x26 (49 LF) | 1274 | LBS | 0 | 0 | 0
116 |  | W 12x40 (80 LF) | 3200 | LBS | 0 | 0 | 0
117 |  | W 8x31 (18 LF) | 558 | LBS | 0 | 0 | 0
|  | Subtotal (Metals) | [5 empty] | 0
DIVISION 07- THERMAL & MOISTURE PROTECTION
118 | S 1.11 | Single Ply Fully Adhered System As; Single Ply Roofing Membrane O/ (5") Min Polyisocyanurate Insulation Metal Deck | 6134 | SF | 0 | 0 | 0
119 |  | MBCI (1-3/4") Standing Seam Prefinished Metal Roof | 307 | SF | 0 | 0 | 0
120 |  | Wrap Membrane | 7884 | SF | 0 | 0 | 0
121 |  | (24) Gauge Pre Finish Coping | 350 | LF | 0 | 0 | 0
122 |  | Stacked Fiber Cement Trim Board | 350 | LF | 0 | 0 | 0
123 |  | (26) Gauge Pre Finish Metal Gutter | 24 | LF | 0 | 0 | 0
124 |  | 600S162-43 Kicker | 180 | LF | 0 | 0 | 0
125 |  | Metal Eve Flashing | 24 | LF | 0 | 0 | 0
126 |  | Metal Roof Deck @ Awning | 217 | SF | 0 | 0 | 0
127 |  | Steel Awning | 93.06 | SF | 0 | 0 | 0
128 |  | Roof Access Ladder (2-1/2"x3/8") Flat Bar Stringers W/ All Components (24'-0" H) W/ (3'-2") Platform | 1 | LOC | 0 | 0 | 0
129 |  | (42" H) Hand Rail | 7 | LF | 0 | 0 | 0
130 |  | Roof Equipment Curb | 29 | LF | 0 | 0 | 0
131 |  | (2'-6") Walking Pad (119 LF) | 297.5 | SF | 0 | 0 | 0
132 |  | Walk Pads | 52 | SF | 0 | 0 | 0
|  | Subtotal (Thermal & Moisture Protection) | [5 empty] | 0
DIVISION 08- OPENINGS
Door
133 | A6.01 | (10'-0"x7'-6") Aluminum Door As "1A" | 1 | EA | 0 | 0 | 0
134 |  | (10'-0"x7'-6") Aluminum Door As "1B" | 1 | EA | 0 | 0 | 0
135 |  | (3'-0"x7'-0") HM Door | 6 | EA | 0 | 0 | 0
136 |  | (3'-0"x7'-0") Aluminum Door | 2 | EA | 0 | 0 | 0
137 |  | (4'-0"x7'-0") HM Door | 1 | EA | 0 | 0 | 0
138 |  | (3'-6"x7'-0") Steel Door | 1 | EA | 0 | 0 | 0
139 |  | (3'-2"x7'-0") Door | 1 | EA | 0 | 0 | 0
Store Front
140 |  | (4'-7"x8'-2") Store Front As "A" | 1 | EA | 0 | 0 | 0
141 |  | (14'-0"x11'-0") Store Front As "B" Panels: (2)(2'-0"x7'-6"), (1)(14'-0"x3'-6") | 1 | EA | 0 | 0 | 0
142 |  | (16'-2"x7'-0") Store Front As "C" | 1 | EA | 0 | 0 | 0
143 |  | (11'-10"x7'-0") Store Front As "D" | 1 | EA | 0 | 0 | 0
144 |  | (5'-8"x8'-2") Store Front As "E" | 1 | EA | 0 | 0 | 0
Window
145 |  | (3'-0"x6'-0") Sky Lights | 3 | EA | 0 | 0 | 0
146 |  | (3'-0"x4'-0") Window | 1 | EA | 0 | 0 | 0
|  | Subtotal (Openings) | [5 empty] | 0
DIVISION 09- FINISHES
Wall Finishes
| A 1.01 | Wall Type As "A3" (12 LF, 10'-0" H)
147 |  | (5/8") Gypsum Wall Board | 120 | SF | 0 | 0 | 0
148 |  | (3 5/8") Metal Runner | 12 | LF | 0 | 0 | 0
149 |  | (3 5/8") Deflection Track | 12 | LF | 0 | 0 | 0
150 |  | (3 5/8") Stud @ 16" O.C (9 EA, 90 LF) | 120 | SF | 0 | 0 | 0
151 |  | Insulation | 120 | SF | 0 | 0 | 0
152 |  | Sealant | 24 | LF | 0 | 0 | 0
Wall Type As "B3" (96 LF, 11'-0" H)
153 |  | (5/8") Gypsum Wall Board | 2112 | SF | 0 | 0 | 0
154 |  | (3 5/8") Metal Runner | 96 | LF | 0 | 0 | 0
155 |  | (3 5/8") Deflection Track | 96 | LF | 0 | 0 | 0
156 |  | (3 5/8") Stud @ 16" O.C (73 EA, 794 LF) | 1056 | SF | 0 | 0 | 0
157 |  | Acoustic Insulation | 1056 | SF | 0 | 0 | 0
158 |  | Sealant | 384 | LF | 0 | 0 | 0
Wall Type As "B6" (58 LF, 11'-0" H)
159 |  | (5/8") Gypsum Wall Board | 1276 | SF | 0 | 0 | 0
160 |  | (6") Metal Runner | 58 | LF | 0 | 0 | 0
161 |  | (6") Deflection Track | 58 | LF | 0 | 0 | 0
162 |  | (6") Stud @ 16" O.C (44 EA, 480 LF) | 638 | SF | 0 | 0 | 0
163 |  | Acoustic Insulation | 638 | SF | 0 | 0 | 0
164 |  | Sealant | 232 | LF | 0 | 0 | 0
Wall Type As "C3" (60 LF, 11'-0" H)
165 |  | (5/8") Gypsum Wall Board | 660 | SF | 0 | 0 | 0
166 |  | (3 5/8") Metal Runner | 60 | LF | 0 | 0 | 0
167 |  | (3 5/8") Deflection Track | 60 | LF | 0 | 0 | 0
168 |  | (3 5/8") Stud @ 16" O.C (46 EA, 497 LF) | 660 | SF | 0 | 0 | 0
169 |  | Insulation | 660 | SF | 0 | 0 | 0
170 |  | Sealant | 120 | LF | 0 | 0 | 0
Wall Type As "D3" (77 LF, 10'-0" H)
171 |  | (5/8") Gypsum Wall Board | 1540 | SF | 0 | 0 | 0
172 |  | (3 5/8") Metal Runner | 77 | LF | 0 | 0 | 0
173 |  | (3 5/8") Deflection Track | 77 | LF | 0 | 0 | 0
174 |  | (3 5/8") Stud @ 16" O.C (58 EA, 579 LF) | 770 | SF | 0 | 0 | 0
175 |  | Acoustic Insulation | 770 | SF | 0 | 0 | 0
176 |  | Sealant | 308 | LF | 0 | 0 | 0
Wall Type As "D6" (26 LF, 10'-0" H)
177 |  | (5/8") Gypsum Wall Board | 520 | SF | 0 | 0 | 0
178 |  | (6") Metal Runner | 26 | LF | 0 | 0 | 0
179 |  | (6") Deflection Track | 26 | LF | 0 | 0 | 0
180 |  | (6") Stud @ 16" O.C (20 EA, 196 LF) | 260 | SF | 0 | 0 | 0
181 |  | Acoustic Insulation | 260 | SF | 0 | 0 | 0
182 |  | Sealant | 104 | LF | 0 | 0 | 0
Partition Wall @ Retail Area
183 |  | (5/8") Gypsum Wall Board | 1535 | SF | 0 | 0 | 0
184 |  | (3 5/8") Metal Runner | 200 | LF | 0 | 0 | 0
185 |  | (3 5/8") Deflection Track | 200 | LF | 0 | 0 | 0
186 |  | (3 5/8") Stud @ 16" O.C | 1535 | SF | 0 | 0 | 0
187 |  | Acoustic Insulation | 1535 | SF | 0 | 0 | 0
188 |  | Sealant | 400 | LF | 0 | 0 | 0
189 |  | Exterior Wall | 344 | LF | 0 | 0 | 0
Exterior Wall (300 LF, 15'-0" H)
190 |  | (5/8") Gypsum Wall Board | 3300 | SF | 0 | 0 | 0
191 |  | OSB Wall Sheathing | 4500 | SF | 0 | 0 | 0
192 |  | (6") Metal Runner | 300 | LF | 0 | 0 | 0
193 |  | (6") Deflection Track | 300 | LF | 0 | 0 | 0
194 |  | (6") Stud @ 16" O.C (226 EA, 3384 LF) | 4500 | SF | 0 | 0 | 0
195 |  | Acoustic Insulation | 4500 | SF | 0 | 0 | 0
196 |  | Sealant | 600 | LF | 0 | 0 | 0
Parapet Wall (344 LF, 4'-0" H)
197 |  | OSB Wall Sheathing | 1376 | SF | 0 | 0 | 0
198 |  | (6") Metal Runner | 344 | LF | 0 | 0 | 0
199 |  | (6") Deflection Track | 344 | LF | 0 | 0 | 0
200 |  | (6") Stud @ 16" O.C (226 EA, 3384 LF) | 1376 | SF | 0 | 0 | 0
201 |  | Acoustic Insulation | 1376 | SF | 0 | 0 | 0
202 |  | Sealant | 688 | LF | 0 | 0 | 0
Wall Finishes
203 | A1.01 | (6"x6") Ceramic Tile @ Kitchen | 350 | SF | 0 | 0 | 0
204 |  | (12"x24") Porcelain Tiles @ Bath | 1050 | SF | 0 | 0 | 0
205 |  | Wall Paint | 9663 | SF | 0 | 0 | 0
Ceiling
206 | A 1.05 | ACT Tiles W/ Resilient Channel | 928 | SF | 0 | 0 | 0
207 |  | Gypsum Wall Board W/ Paint W/ Resilient Channel | 657 | SF | 0 | 0 | 0
208 |  | Metal Soffit Panel | 78 | SF | 0 | 0 | 0
Floor Finish
209 | A 1.06 | (6"x36") Porcelain Tile "CT-4" | 3829 | SF | 0 | 0 | 0
210 |  | (6"x6") Ceramic Tile As "CT-2" | 578 | SF | 0 | 0 | 0
211 |  | Floor Sealant As "SEL-6" | 897 | SF | 0 | 0 | 0
Base
212 |  | Tile Base As "CT-1" @ Men Bath | 77 | LF | 0 | 0 | 0
213 |  | Tile Base As "CT-1" @ Women Bath | 75 | LF | 0 | 0 | 0
214 |  | Rubber Base As "RB-1" @ Hallway | 144 | LF | 0 | 0 | 0
215 |  | Rubber Base As "RB-1" Office | 37 | LF | 0 | 0 | 0
216 |  | Rubber Base As "RB-1" Electrical | 44 | LF | 0 | 0 | 0
217 |  | Rubber Base As "RB-1" Vendor Receiving | 82 | LF | 0 | 0 | 0
218 |  | Rubber Base As "RB-1" Retail | 170 | LF | 0 | 0 | 0
219 |  | Rubber Base As "RB-1" Store Room | 52 | LF | 0 | 0 | 0
220 |  | Rubber Base As "RB-1" Freezer | 47 | LF | 0 | 0 | 0
221 |  | Rubber Base As "RB-1" Cooler | 49 | LF | 0 | 0 | 0
222 |  | Tile Base As "CT-2" @ Coffee Prep | 36 | LF | 0 | 0 | 0
223 |  | Tile Base As "CT-2" @ Deli Prep | 18 | LF | 0 | 0 | 0
224 |  | Tile Base As "CT-2" @ Kitchen Service | 32 | LF | 0 | 0 | 0
225 |  | Rubber Base As "RB-1" Beer Cooler | 79 | LF | 0 | 0 | 0
226 |  | Rubber Base As "RB-1" Beverage Cooler | 80 | LF | 0 | 0 | 0
Exterior Finish
227 | A 2.01-2.02 | Fiber Cement Board & Batten Sidding,BB-2 As "6.04" | 418 | SF | 0 | 0 | 0
228 |  | Fiber Cement Board & Batten Sidding,BB-1 As "6.05" | 3621 | SF | 0 | 0 | 0
229 |  | Stone Veneer (BR-1) | 1546 | SF | 0 | 0 | 0
230 |  | Chain Link Fence W/ Privacy Slats | 335 | SF | 0 | 0 | 0
231 |  | Air Infiltration Barrier | 5585 | SF | 0 | 0 | 0
232 |  | R-7.5 Continuous Rigid Insulation | 5585 | SF | 0 | 0 | 0
|  | Subtotal (Finishes) | [5 empty] | 0
DIVISION 10- SPECIALTIES
233 | A 1.01-1.05 | Solid Surface Counter Top | 200 | SF | 0 | 0 | 0
234 |  | Lower Cabinet | 75 | LF | 0 | 0 | 0
235 |  | Plastic Laminated Cabinet | 35 | LF | 0 | 0 | 0
236 |  | (3'-0" W) Cash Wrap Counter W/ Drawer | 25 | LF | 0 | 0 | 0
237 |  | Front & Side Signage (Name) | 2 | EA | 0 | 0 | 0
238 |  | Rear Signage (Name) | 1 | EA | 0 | 0 | 0
|  | Subtotal (Specialties) | [5 empty] | 0
DIVISION 11- EQUIPMENT
239 | A 1.04 | Paper Towel Dispenser | 11 | EA | 0 | 0 | 0
240 |  | Ice/ Beverage Dispenser | 1 | EA | 0 | 0 | 0
241 |  | Donut Case | 1 | EA | 0 | 0 | 0
242 |  | Display Warmers | 1 | EA | 0 | 0 | 0
243 |  | Fresh Food Case | 2 | EA | 0 | 0 | 0
244 |  | Bann Dual Thermofresh | 2 | EA | 0 | 0 | 0
245 |  | Cappuccino Machine | 1 | EA | 0 | 0 | 0
246 |  | Condiment Drop-In | 1 | EA | 0 | 0 | 0
247 |  | Microwave Oven | 1 | EA | 0 | 0 | 0
248 |  | Hot Dog Roller Grill | 1 | EA | 0 | 0 | 0
249 |  | Nacho Machine | 3 | EA | 0 | 0 | 0
250 |  | Quiet qube Ice Maker | 2 | EA | 0 | 0 | 0
251 |  | Remote Conden Unit For 18 | 2 | EA | 0 | 0 | 0
252 |  | Ice Bin/ Bagger | 1 | EA | 0 | 0 | 0
253 |  | Oven | 1 | EA | 0 | 0 | 0
254 |  | Stainless Steel Exhaust Hood & Skirt | 1 | EA | 0 | 0 | 0
255 |  | Ice Maker ( Over Bev Disp) | 1 | EA | 0 | 0 | 0
256 |  | Remote Conden Unit For 21 Roof | 1 | EA | 0 | 0 | 0
257 |  | Food Prep Unit | 3 | EA | 0 | 0 | 0
258 |  | Smart Safe | 1 | EA | 0 | 0 | 0
259 |  | Eurovault Safe | 1 | EA | 0 | 0 | 0
260 |  | Ice Cream Merchandiser | 1 | EA | 0 | 0 | 0
261 |  | Remote Conden Unit For 33 Roof | 1 | EA | 0 | 0 | 0
262 |  | Ice Maker (Over Bev Disp) | 1 | EA | 0 | 0 | 0
263 |  | ATM Machine | 1 | EA | 0 | 0 | 0
264 |  | Exterior Ice Cabin | 2 | EA | 0 | 0 | 0
265 |  | Pos Array | 4 | EA | 0 | 0 | 0
266 |  | Cigarette Case | 1 | EA | 0 | 0 | 0
267 |  | Creamer Dispenser | 1 | EA | 0 | 0 | 0
268 |  | Stainless Steel Sink (Hand/ Bar) | 4 | EA | 0 | 0 | 0
269 |  | CPU, Monitor, Printer, Key Board | 1 | EA | 0 | 0 | 0
270 |  | Security Monitor System | 1 | EA | 0 | 0 | 0
271 |  | Frozen Carbonated Bev | 2 | EA | 0 | 0 | 0
272 |  | Steam Warmer | 1 | EA | 0 | 0 | 0
273 |  | F'Real | 2 | EA | 0 | 0 | 0
274 |  | Speed Oven | 2 | EA | 0 | 0 | 0
275 |  | Red Box | 1 | EA | 0 | 0 | 0
276 |  | Pizza Oven | 2 | EA | 0 | 0 | 0
277 |  | Prep Table | 1 | EA | 0 | 0 | 0
278 |  | Tea Brewer | 1 | EA | 0 | 0 | 0
279 |  | Tortilla Toaster | 1 | EA | 0 | 0 | 0
280 |  | Hand Dryer | 4 | EA | 0 | 0 | 0
281 |  | Label Printer | 1 | EA | 0 | 0 | 0
282 |  | Tortilla Table | 1 | EA | 0 | 0 | 0
283 |  | LID Dispenser | 5 | EA | 0 | 0 | 0
284 |  | Coffee Cup Dispenser | 12 | EA | 0 | 0 | 0
285 |  | Bulk CO2 Tank | 1 | EA | 0 | 0 | 0
286 |  | Bag On Box Unit | 1 | EA | 0 | 0 | 0
287 |  | Sanitizer Unit | 1 | EA | 0 | 0 | 0
288 |  | Wire Shelving | 32 | EA | 0 | 0 | 0
289 |  | Overhead Wire Shelve W/ Bracket | 1 | EA | 0 | 0 | 0
290 |  | Mobile Shelf System | 1 | EA | 0 | 0 | 0
291 |  | MOP Holder | 1 | EA | 0 | 0 | 0
292 |  | Sneeze Guard | 1 | EA | 0 | 0 | 0
293 |  | Baby Changing Station | 2 | EA | 0 | 0 | 0
294 |  | Fire Extinguisher | 4 | EA | 0 | 0 | 0
295 |  | Coat Hook | 9 | EA | 0 | 0 | 0
296 |  | Paper Towel Dispenser | 4 | EA | 0 | 0 | 0
297 |  | Mirror | 4 | EA | 0 | 0 | 0
298 |  | Grab Bar | 14 | EA | 0 | 0 | 0
299 |  | Sanitary Napkin Disposal | 6 | EA | 0 | 0 | 0
300 |  | Bath Tissue Dispenser | 9 | EA | 0 | 0 | 0
301 |  | Under Counter Bag Rack | 4 | EA | 0 | 0 | 0
302 |  | LIDS For FCB Machine | 12 | EA | 0 | 0 | 0
303 |  | Under Counter Candy Rack | 6 | EA | 0 | 0 | 0
304 |  | Stainless Steel Chute | 1 | EA | 0 | 0 | 0
305 |  | Sneeze Guard | 13 | EA | 0 | 0 | 0
306 |  | Propane Tank Cage | 1 | EA | 0 | 0 | 0
307 |  | Bike Rack | 1 | EA | 0 | 0 | 0
308 |  | Rolling Pack | 2 | EA | 0 | 0 | 0
309 |  | (3'-0") Table | 1 | EA | 0 | 0 | 0
310 |  | Tea Brewer Container | 2 | EA | 0 | 0 | 0
311 |  | (4'-0") SS Table W/ Cabinet Base | 2 | EA | 0 | 0 | 0
312 |  | (4'-0") Table | 2 | EA | 0 | 0 | 0
313 |  | Condiment Rack | 1 | EA | 0 | 0 | 0
314 |  | Lime Dispenser | 1 | EA | 0 | 0 | 0
315 |  | Zavit Rack | 2 | EA | 0 | 0 | 0
316 |  | Flavor Shot Rack | 2 | EA | 0 | 0 | 0
317 |  | Wall Trax | 4 | EA | 0 | 0 | 0
318 |  | Infit Freezer Door W/ 4 Side Heat Cable | 1 | EA | 0 | 0 | 0
319 |  | Switch With Pilot Light | 2 | EA | 0 | 0 | 0
320 |  | Infit Cooler Door | 1 | EA | 0 | 0 | 0
321 |  | Remote Condenser | 2 | EA | 0 | 0 | 0
322 |  | Infit Cooler Door | 1 | EA | 0 | 0 | 0
323 |  | Beer Room Door | 1 | EA | 0 | 0 | 0
324 |  | Cooler Door | 14 | EA | 0 | 0 | 0
|  | Subtotal (Equipment) | [5 empty] | 0
DIVISION 22- PLUMBING
Plumbing Fixture
325 | P 3.0 | Water Closet As "P1" ADA | 2 | EA | 0 | 0 | 0
326 |  | Water Closet As "'P2" | 7 | EA | 0 | 0 | 0
327 |  | Urinal As " P3" ADA | 1 | EA | 0 | 0 | 0
328 |  | Urinal As "P4" | 2 | EA | 0 | 0 | 0
329 |  | Lavatory As " P5" ADA | 2 | EA | 0 | 0 | 0
330 |  | Lavatory As " P6" | 2 | EA | 0 | 0 | 0
331 |  | MOP Sink As " p7" | 1 | EA | 0 | 0 | 0
332 |  | Bar Sink As "P8" | 5 | EA | 0 | 0 | 0
333 |  | 3 Comp. Sink As "P9" | 1 | EA | 0 | 0 | 0
334 |  | Water Filter As "P10" | 1 | EA | 0 | 0 | 0
335 |  | Water Heater As " P12" | 1 | EA | 0 | 0 | 0
336 |  | P.R.V As "P13" | 1 | EA | 0 | 0 | 0
337 |  | R.P.Z As "P14" | 1 | EA | 0 | 0 | 0
338 |  | Grease Interceptor As "P15" | 1 | EA | 0 | 0 | 0
339 |  | H.W Heat Trace As "P16" | 1 | EA | 0 | 0 | 0
340 |  | Floor Drain As "FD1" | 5 | EA | 0 | 0 | 0
341 |  | Floor Drain As "FD2" | 1 | EA | 0 | 0 | 0
342 |  | Floor Sink As "FS1" | 7 | EA | 0 | 0 | 0
343 |  | Floor Sink As "FS2" | 2 | EA | 0 | 0 | 0
344 |  | Wall Hydrant As "HB1" | 3 | EA | 0 | 0 | 0
345 |  | Wall Box Hydrant As " HB2" | 2 | EA | 0 | 0 | 0
346 |  | Kitchen Equipment | 4 | EA | 0 | 0 | 0
Pipes
| P 2.0-2.3 | Waste Pipe
347 |  | (4") Día Sanitary Pipe GR | 114 | LF | 0 | 0 | 0
348 |  | (3") Día Sanitary Pipe GR | 79 | LF | 0 | 0 | 0
349 |  | (2") Día Sanitary Pipe GR | 11 | LF | 0 | 0 | 0
350 |  | (4") Día Sanitary Pipe | 236 | LF | 0 | 0 | 0
351 |  | (3") Día Sanitary Pipe | 53 | LF | 0 | 0 | 0
352 |  | (2") Día Sanitary Pipe | 22 | LF | 0 | 0 | 0
353 |  | (1") Día C Pipe | 136 | LF | 0 | 0 | 0
Vent Pipe
354 |  | (1 1/2") Día Vent Pipe | 399 | LF | 0 | 0 | 0
355 |  | (2") Día Vent Pipe | 157 | LF | 0 | 0 | 0
356 |  | (3") Día Vent Pipe | 117 | LF | 0 | 0 | 0
357 |  | Floor Drain | 60 | LF | 0 | 0 | 0
Water Pipes
358 |  | (1/2") Cold Water Pipe | 256 | LF | 0 | 0 | 0
359 |  | (3/4") Cold Water Pipe | 352 | LF | 0 | 0 | 0
360 |  | (1 1/4") Cold Water Pipe | 27 | LF | 0 | 0 | 0
361 |  | (1 1/2") Cold Water Pipe | 42 | LF | 0 | 0 | 0
362 |  | (2") Cold Water Pipe | 53 | LF | 0 | 0 | 0
363 |  | (2 1/2") Cold Water Pipe | 73 | LF | 0 | 0 | 0
364 |  | (1/2") Hot Water Pipe | 246 | LF | 0 | 0 | 0
365 |  | (3/4") Hot Water Pipe | 215 | LF | 0 | 0 | 0
366 |  | (1") Hot Water Pipe | 6 | LF | 0 | 0 | 0
367 |  | (1 1/2") Hot Water Pipe | 17 | LF | 0 | 0 | 0
368 |  | (1 1/4") Hot Water Pipe | 63 | LF | 0 | 0 | 0
Filter Water Plan
369 |  | (1/2") Día Pipe | 73 | LF | 0 | 0 | 0
370 |  | (3/4") Día Pipe | 47 | LF | 0 | 0 | 0
371 |  | "RO" Filter System (Installation Only) | 1 | EA | 0 | 0 | 0
372 |  | Intake Shut Off Valve | 4 | EA | 0 | 0 | 0
373 |  | Check Valve | 2 | EA | 0 | 0 | 0
Gas Plan
374 | P 2.4 | (1") Día Gas Pipe | 14 | LF | 0 | 0 | 0
375 |  | (1 1/2") Día Gas Pipe | 34 | LF | 0 | 0 | 0
376 |  | (1 1/4") Día Gas Pipe | 33 | LF | 0 | 0 | 0
377 |  | (2") Día Gas Pipe | 15 | LF | 0 | 0 | 0
Gas & Hot Water Return Pipe
378 |  | (3/4") Día Pipe | 137 | LF | 0 | 0 | 0
379 |  | (1 1/2") Día Pipe | 20 | LF | 0 | 0 | 0
380 |  | (1 1/4") Día Pipe | 103 | LF | 0 | 0 | 0
381 |  | (1") Día Pipe | 38 | LF | 0 | 0 | 0
382 |  | (1/2") Día Pipe | 21 | LF | 0 | 0 | 0
383 |  | Water Heater Recirculating Pump | 1 | EA | 0 | 0 | 0
Fuel Pipes & Equipments
384 | PE-1 | (2") Double Wall Flexible Pipe By O.P.W | 1845 | LF | 0 | 0 | 0
385 |  | (3") Double Wall Flexible Pipe By O.P.W | 188 | LF | 0 | 0 | 0
386 |  | (1 1/2") Double Wall Flexible Pipe By O.P.W | 255 | LF | 0 | 0 | 0
387 |  | (2") Syphon System Pipes | 31 | LF | 0 | 0 | 0
388 |  | (2"0 Rigid Fiber Glass Pipe | 587 | LF | 0 | 0 | 0
389 |  | Fuel Alarm | 1 | EA | 0 | 0 | 0
390 |  | Dispenser (MDP) | 23 | EA | 0 | 0 | 0
Fuel Tanks
391 |  | Unleaded Tank (25 K) | 1 | EA | 0 | 0 | 0
392 |  | Supreme Tank (9 K) | 1 | EA | 0 | 0 | 0
393 |  | DEF Tank (8 K) | 1 | EA | 0 | 0 | 0
394 |  | E15 Tank (8K) | 1 | EA | 0 | 0 | 0
395 |  | Diesel Tank (25 K) | 1 | EA | 0 | 0 | 0
|  | Subtotal (Plumbing) | [5 empty] | 0
DIVISION 23- HEATING, VENTILATING & AIR-CONDITIONING
396 | M 1.0-1.1 | Roof Top Unit As "RT-1" Manufacturer: Trane Model: YHC092F3 | 1 | EA | 0 | 0 | 0
397 |  | Roof Top Unit As "RT-2" Manufacturer: Trane Model: YHC092F4 | 1 | EA | 0 | 0 | 0
398 |  | Roof Top Unit As "RT-3" Manufacturer: Trane Model: YHC074F5 | 1 | EA | 0 | 0 | 0
399 |  | Exhaust Fan As "EF-1" Manufacturer: Green Heck Model: Cube-090 | 1 | EA | 0 | 0 | 0
400 |  | Exhaust Fan As "EF-2" Manufacturer: Green Heck Model: Cube-090 | 1 | EA | 0 | 0 | 0
401 |  | Exhaust Fan As "EF-3" Manufacturer: Green Heck Model: Cube-095 | 1 | EA | 0 | 0 | 0
402 |  | Refrigeration Units | 8 | EA | 0 | 0 | 0
403 |  | (10") Día Duct | 211 | LF | 0 | 0 | 0
404 |  | (10x10) Duct | 3 | LF | 0 | 0 | 0
405 |  | (12") Día Duct | 101 | LF | 0 | 0 | 0
406 |  | (12x12)/ 12" Día Duct | 23 | LF | 0 | 0 | 0
407 |  | (14") Día Duct | 8 | LF | 0 | 0 | 0
408 |  | (14x12) Duct | 22 | LF | 0 | 0 | 0
409 |  | (16") Día Duct | 13 | LF | 0 | 0 | 0
410 |  | (16x12) Duct | 12 | LF | 0 | 0 | 0
411 |  | (18") Día Duct | 8 | LF | 0 | 0 | 0
412 |  | (20") Día Duct | 24 | LF | 0 | 0 | 0
413 |  | (22") Día Duct | 23 | LF | 0 | 0 | 0
414 |  | (22x14) Duct | 16 | LF | 0 | 0 | 0
415 |  | (32x14) Duct | 5 | LF | 0 | 0 | 0
416 |  | (32x16) Duct | 5 | LF | 0 | 0 | 0
417 |  | (48x14) Duct | 5 | LF | 0 | 0 | 0
418 |  | (8") Día Duct | 23 | LF | 0 | 0 | 0
419 |  | (9") Día Duct | 15 | LF | 0 | 0 | 0
420 |  | Supply Air Diffuser | 22 | EA | 0 | 0 | 0
421 |  | Exhaust Grill | 2 | EA | 0 | 0 | 0
422 |  | Return/ Transfer Grill | 9 | EA | 0 | 0 | 0
|  | Subtotal (Heating, Ventilating & Air-Conditioning) | [5 empty] | 0
DIVISION 26- ELECTRICAL
Electrical Light
423 | E 2.0 | Edge LIT (2x4) Low Profile LED, 4K As "T-1" | 25 | EA | 0 | 0 | 0
424 |  | (2x4) Low Profile LED, 4K As "T-1B" W/ Emergency Battery | 8 | EA | 0 | 0 | 0
425 |  | Lay-In (2x4) LED As "T-2" | 6 | EA | 0 | 0 | 0
426 |  | Lay-In (2x4) LED As "T-2B" | 6 | EA | 0 | 0 | 0
427 |  | 4 LF LED Strip Luminaire As "T-3" | 13 | EA | 0 | 0 | 0
428 |  | 5 LF LED Strip Luminaire As "T-3B" W/ Emergency Light | 3 | EA | 0 | 0 | 0
429 |  | (3"x10"x48") Surface Wrap Acrylic Prismatic Diffuser, 5200 LUMENS As "T-4" | 3 | EA | 0 | 0 | 0
430 |  | (3"x10"x48") Surface Wrap Acrylic Prismatic Diffuser, 6300 LUMENS As "T-4A" | 5 | EA | 0 | 0 | 0
431 |  | (3"x10"x48") Surface Wrap Acrylic Prismatic Diffuser, 1400 LUMENS As "T-4B" W/ Emergency Battery | 4 | EA | 0 | 0 | 0
432 |  | Emergency Exit Sign As "T-5" | 5 | EA | 0 | 0 | 0
433 |  | Emergency Exit Sign As "T-5B" | 3 | EA | 0 | 0 | 0
434 |  | 4 LF Linear Pendant Wall Wash (18" Stem) 4k As "T-7" | 7 | EA | 0 | 0 | 0
435 |  | 4 LF Linear Pendant Wall Wash (18" Stem) 4k As "T-7A" 19' Luminaire | 1 | EA | 0 | 0 | 0
436 |  | 4 LF Linear Pendant Wall Wash (18" Stem) 4k As "T-7C" 19' Luminaire | 1 | EA | 0 | 0 | 0
437 |  | 4 LF Linear Pendant Wall Wash (32" Stem) 4k As "T-7D" | 4 | EA | 0 | 0 | 0
438 |  | Recessed LED Down Light, (6") Aperture, 1000 Lumens As "T-9" | 8 | EA | 0 | 0 | 0
439 |  | Decorative Wall Mount LED Lamp (2000) Lumens As "T-10" | 4 | EA | 0 | 0 | 0
440 |  | Low Profile Cutoff Wall Pack, 7700 Lumens As "T-12" | 4 | EA | 0 | 0 | 0
441 |  | Low Profile Cutoff Wall Pack, 7700 Lumens As "T-12A" | 1 | EA | 0 | 0 | 0
442 |  | Canopy Mounted, Cut Off Luminaire (15209 Lumens) As "T-13" | 44 | EA | 0 | 0 | 0
443 |  | Pole Mounted, Cut Off Luminaire (16000 Lumens) As "T-14" | 1 | EA | 0 | 0 | 0
444 |  | Pole Mounted, Cut Off Luminaire (16000 Lumens) As "T-14 A" | 5 | EA | 0 | 0 | 0
445 |  | Pole Mounted, Cut Off Luminaire (16000 Lumens) As "T-14 C" | 4 | EA | 0 | 0 | 0
446 |  | 4 LF LED Strip Luminaire, (3000) Lumens As "T-15" | 45 | EA | 0 | 0 | 0
447 |  | 14' Rubber Coated Tape Light As "T-19" | 4 | EA | 0 | 0 | 0
448 |  | 3'-6" Rubber Coated Tape Light As "T-19A" | 4 | EA | 0 | 0 | 0
449 |  | 7'-0' Rubber Coated Tape Light As "T-19C" | 4 | EA | 0 | 0 | 0
450 |  | 1'-6" Rubber Coated Tape Light As "T-19D" | 4 | EA | 0 | 0 | 0
Power
451 | E 3.0 | 800 AMP Meter Section | 1 | EA | 0 | 0 | 0
452 |  | Canopy Sign | 2 | EA | 0 | 0 | 0
453 |  | Data Outlet | 8 | EA | 0 | 0 | 0
454 |  | Disconnect Switch | 5 | EA | 0 | 0 | 0
455 |  | Disconnect Switch W.P | 7 | EA | 0 | 0 | 0
456 |  | Double Duplex Outlet | 5 | EA | 0 | 0 | 0
457 |  | Duplex Outlet | 41 | EA | 0 | 0 | 0
458 |  | Duplex Outlet GFI | 44 | EA | 0 | 0 | 0
459 |  | Emergency Shut-Off | 7 | EA | 0 | 0 | 0
460 |  | Fan Motor Outlet | 3 | EA | 0 | 0 | 0
461 |  | Integral Panel | 1 | EA | 0 | 0 | 0
462 |  | Junction Box | 147 | EA | 0 | 0 | 0
463 |  | Lightning Bypass Switch | 1 | EA | 0 | 0 | 0
464 |  | Motion Sensor | 2 | EA | 0 | 0 | 0
465 |  | Motor Outlet | 1 | EA | 0 | 0 | 0
466 |  | Overfill Alarm | 1 | EA | 0 | 0 | 0
467 |  | Panel "MDP" | 1 | EA | 0 | 0 | 0
468 |  | Panel A "225A" | 1 | EA | 0 | 0 | 0
469 |  | Panel B "225A" | 1 | EA | 0 | 0 | 0
470 |  | Panel B1 "400A" | 1 | EA | 0 | 0 | 0
471 |  | Panel C "400A" | 1 | EA | 0 | 0 | 0
472 |  | Panel D "225A" | 1 | EA | 0 | 0 | 0
473 |  | Panel R "225A" | 1 | EA | 0 | 0 | 0
474 |  | Push Button | 3 | EA | 0 | 0 | 0
475 |  | Recessed Light Outlet | 45 | EA | 0 | 0 | 0
476 |  | Thermostat | 4 | EA | 0 | 0 | 0
477 |  | Utility Company Transformer With CT & Meter | 1 | EA | 0 | 0 | 0
478 |  | Area For Electrical Conduits & Wires | 6132 | SF | 0 | 0 | 0
|  | Subtotal (Electrical) | [5 empty] | 0
| SUBTOTAL | [6 empty] | 0
| OVERHEAD & PROFIT |  | 20% |  |  |  |  | 0
| INSURANCE |  | 3% |  |  |  |  | 0
| CONTINGENCY |  | 7% |  |  |  |  | 0
TOTAL BASE BID | [7 empty] | 0
Note: