## Worksheet
CLIENT'S INFORMATION:
PROJECT ID: 3979 William Residence |  |  |  | CONTACT:
E-MAIL ADDRESS:
SCOPE: Everything |  |  |  | PHONE NUMBER:
|  |  |  | Date: |  | 2020-02-25
ITEM # | DESCRIPTION | QUANTITY | UNIT | MATERIAL UNIT COST | LABOR UNIT COST | TOTAL COST | TRADE COST
GENERAL REQUIREMENTS
1 | Supervision | 1 | LS | 0 | 0 | 0
2 | Permits | 1 | LS | 0 | 0 | 0
3 | Final Clean-up | 1 | LS | 0 | 0 | 0
4 | Mobilization Costs | 1 | LS | 0 | 0 | 0
5 | Project Overheads | 1 | LS | 0 | 0 | 0
6 | Bonds | 1 | LS | 0 | 0 | 0
7 | Temporary Control & Facilities | 1 | LS | 0 | 0 | 0
8 | Scaffolding | 5177 | SF | 0 | 0 | 0
| Subtotal (General Requirements) | [5 empty] | 0
DIVISION 02- SITE WORK/ EXISTING CONDITIONS
9 | Pavered Pool Deck | 205.71 | SF | 6 | 3 | 1851.39
10 | (6') H Wood Fence | 366.21 | LF | 35 | 8 | 15747.03
11 | (6'-0"x3'-0") Wood Gate | 2 | EA | 700 | 55 | 1510
12 | Concrete Side Walk | 315 | SF | 5 | 3 | 2520
| Subtotal (Site Work/ Existing Conditions) | [5 empty] | 21628.42
DIVISION 03- CONCRETE
Foundation Plan
Footing
13 | Footing 'WF-24' As; (186 LF) (24"x16") Wall Footing Reinf. W/ 3 #5 Cont Bottom #4 @ 12" O.C Transv. Bottom | 18.76 | CY | 675 | 75 | 14070
14 | Footing 'WF-16' As; (10 LF) (16"x16") Wall Footing Reinf. W/ 2 #5 Cont Bottom #4 @ 12" O.C Transv. Bottom | 0.67 | CY | 675 | 75 | 502.5
15 | Footing 'F1' As; (4 EA) (3'-0"x3'-0"x16") Column Footing Reinf. W/ 4 #5 Bottom EA Way | 1.7733 | CY | 675 | 75 | 1329.975
16 | Footing 'F2' As; (3 EA) (4'-0"x4'-0"x16") Column Footing Reinf. W/ 5 #5 Bottom EA Way | 2.36 | CY | 675 | 75 | 1770
Slabs
17 | Slab Edge 'TE' As; (28 LF) (8"x12") Reinf. W/ (2) #5 Cont Bottom | 0.68 | CY | 675 | 75 | 510
18 | (4") Concrete Slab W/ (18 CY) (6x6) W1.4xW1.4 W.W.M O/ 6 Mil Vapor Barrier | 1484 | SF | 4 | 2 | 8904
19 | (6") Concrete Slab W/ (7 CY) DBL (6x6)-W2.1xW2.1 On Compacted Fill | 387 | SF | 5 | 3 | 3096
20 | Concrete Pad For Condensing Unit | 14.09 | SF | 4 | 2 | 84.54
21 | (8"x8") Thickened Edge W/ 1 #5 Cont | 2.27 | CY | 675 | 75 | 1702.5
Columns
22 | Concrete Column 'C1' As; (13' H & 6 EA) (8"x12") Column Reinf. W/ 4 #5 Vertical Bars 1 #3 @ 8" O.C Hoops | 1.96 | CY | 675 | 75 | 1470
23 | Concrete Column 'C2' As; (13' H & 7 EA) (8"x16") Column Reinf. W/ 4 #6 Vertical Bars 1 #3 @ 8" O.C Hoops | 2.95 | CY | 675 | 75 | 2212.5
24 | Concrete Column 'C3' As; (13' H & 1 EA) (8"x16") Column Reinf. W/ 6 #5 Vertical Bars 1 #3 @ 8" O.C Hoops | 0.52 | CY | 675 | 75 | 390
25 | Concrete Column 'C4' As; (13' H & 2 EA) (8"x24") Column Reinf. W/ 6 #6 Vertical Bars 1 #3 @ 8" O.C Hoops | 1.27 | CY | 675 | 75 | 952.5
26 | (3.5"x3.5") Concrete Filled Column 'C5' (13' H & 3 EA) | 0.121 | CY | 675 | 75 | 90.75
Concrete Stairs
27 | (7") Concrete Slab Reinf. W/ 6 #5 Cont Bottom #5 @ 12" Bottom | 3.5 | CY | 675 | 75 | 2625
| Excavation |  |  | 675 | 75 | 0
28 | Excavation | 34 | CY | 675 | 75 | 25500
Second Floor
Columns
29 | Concrete Column 'C1' As; (12' H & 6 EA) (8"x12") Column Reinf. W/ 4 #5 Vertical Bars 1 #3 @ 8" O.C Hoops | 1.76 | CY | 675 | 75 | 1320
30 | Concrete Column 'C2' As; (12' H & 6 EA) (8"x16") Column Reinf. W/ 4 #6 Vertical Bars 1 #3 @ 8" O.C Hoops | 2.34 | CY | 675 | 75 | 1755
31 | Concrete Column 'C3' As; (12' H & 1 EA) (8"x16") Column Reinf. W/ 6 #5 Vertical Bars 1 #3 @ 8" O.C Hoops | 0.48 | CY | 675 | 75 | 360
32 | Concrete Column 'C4' As; (12' H & 2 EA) (8"x24") Column Reinf. W/ 6 #6 Vertical Bars 1 #3 @ 8" O.C Hoops | 1.17 | CY | 675 | 75 | 877.5
33 | (3.5"x3.5") Concrete Filled Column 'C5' (12' H & 3 EA) | 0.11 | CY | 675 | 75 | 82.5
Beam
34 | B-1' As; (15 LF) (8"x20") Beam Reinf. W/ 2 #6 Bottom & 2 #6 Top Bars #3 @ 6" O.C Ties | 0.6 | CY | 675 | 75 | 450
35 | B-2' As; (10 LF) (8"x16") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.325 | CY | 675 | 75 | 243.75
36 | B-3' As; (13 LF) (8"x20") Beam Reinf. W/ 2 #6 Bottom & 2 #6 Top Bars #3 @ 6" O.C Ties | 0.52 | CY | 675 | 75 | 390
37 | B-4' As; (18 LF) (12"x16") Beam Reinf. W/ 3 #7 Bottom & 2 #7 Top Bars #3 @ 6" O.C Ties | 0.88 | CY | 675 | 75 | 660
38 | B-5' As; (17 LF) (12"x14") Beam Reinf. W/ 3 #6 Bottom & 2 #6 Top Bars #3 @ 6" O.C Ties | 0.73 | CY | 675 | 75 | 547.5
39 | B-6' As; (22 LF) (12"x14") Beam Reinf. W/ 3 #7 Bottom & 3 #7 Top Bars #3 @ 6" O.C Ties | 0.94 | CY | 675 | 75 | 705
40 | B-7' As; (11 LF) (8"x12") Beam Reinf. W/ 2 #6 Bottom & 2 #6 Top Bars #3 @ 6" O.C Ties | 0.26 | CY | 675 | 75 | 195
41 | B-8' As; (22 LF) (12"x16") Beam Reinf. W/ 3 #7 Bottom, 2 #7 Top & 3 #7 Middle Bars #3 @ 6" O.C Ties | 1.08 | CY | 675 | 75 | 810
42 | B-9' As; (15 LF) (8"x16") Beam Reinf. W/ 2 #6 Bottom, 2 #6 Top & 2 #6 Middle Bars #3 @ 6" O.C Ties | 0.48 | CY | 675 | 75 | 360
43 | B-10' As; (13 LF) (8"x24") Beam Reinf. W/ 2 #5 Bottom, 2 #5 Top & 2 #5 Middle Bars #3 @ 6" O.C Ties | 0.63 | CY | 675 | 75 | 472.5
44 | B-11' As; (20 LF) (8"x20") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.81 | CY | 675 | 75 | 607.5
45 | B-12' As; (18 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.44 | CY | 675 | 75 | 330
46 | TB-1' As; (132 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 3.22 | CY | 675 | 75 | 2415
47 | TB-13' As; (15 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.55 | CY | 675 | 75 | 412.5
48 | (8"x8") Cap Beam W/ 2 #4 Cont | 0.75827 | CY | 675 | 75 | 568.7
Slabs
49 | (6") Concrete Slab W/ (212 CY) #5 @ 12" E.W. At Bottom & #4 @ 12" At Top Bar Hooks | 953 | SF | 5 | 3 | 7624
50 | (6") Concrete Slab W/ (79 CY) #5 @ 10" E.W. At Bottom & #4 @ 12" At Top Bar Hooks | 355.91 | SF | 5 | 3 | 2847.28
51 | (6") Concrete Slab W/ (62 CY) (1/4") Slope Reinf. W/ #5 @ 12" E.W. At Bottom & #4 @ 12" At Top Bar Hooks | 276.91 | SF | 5 | 3 | 2215.28
Roof
Beam
52 | CB-1 As; (8"x4") Cap Beam Reinf. W/ 2 #4 Middle Bars #3 @ 8" O.C Ties | 1.4762 | CY | 675 | 75 | 1107.15
53 | CB-2 As; (8"x6") Cap Beam Reinf. W/ 2 #4 Middle Bars #3 @ 8" O.C Ties | 0.22 | CY | 675 | 75 | 165
54 | B-21' As; (7 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #7 Top Bars #3 @ 6" O.C Ties | 0.17 | CY | 675 | 75 | 127.5
55 | B-22' As; (16 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.39 | CY | 675 | 75 | 292.5
56 | B-23' As; (15 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.366 | CY | 675 | 75 | 274.5
57 | B-24' As; (15 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 0.37 | CY | 675 | 75 | 277.5
58 | B-25' As; (10 LF) (20"x38") Beam Reinf. W/ 3 #5 Bottom,3 #5 Top & 3 #5 Middle Bars #3 @ 6" O.C Ties | 1.94 | CY | 675 | 75 | 1455
59 | TB-21' As; (149 LF) (8"x12") Beam Reinf. W/ 2 #5 Bottom & 2 #5 Top Bars #3 @ 6" O.C Ties | 3.64 | CY | 675 | 75 | 2730
Slabs
60 | (10"x4') SPI Ultra Deck Hollowcore Slab W/ 2" Topping Reinf. W/ Welded Wire Mesh 6x6W 1.4x1.4 CS1 Type: 48-108010 | 987.24 | SF | 10 | 4 | 13821.36
61 | (10"x4') SPI Ultra Deck Hollowcore Slab W/ 2" Topping CS2 Type: 48-10806 | 640.26 | SF | 10 | 4 | 8963.64
62 | (6") Concrete Slab W/ (1/4") Slope Reinf. W/ #5 @ 12" E.W. At Bottom & #4 @ 12" At Top Bar Hooks | 110.61 | SF | 5 | 3 | 884.88
| Subtotal (Concrete) | [5 empty] | 121558.305
DIVISION 04- MASONRY
Ground Floor
63 | TD-1 As; (15 LF & 13' H) (12") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #6 @ 32" Fill Cell | 191 | SF | 10 | 4 | 2674
64 | TD As; (202 LF & 13' H) (8") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #5 @ 32" Fill Cell | 2276 | SF | 8 | 4 | 27312
Second Floor
65 | TD-1 As; (15 LF & 12' H) (12") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #6 @ 32" Fill Cell | 180 | SF | 10 | 4 | 2520
66 | TD As; (172 LF & 12' H) (8") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #5 @ 48" O.C Fill Cell | 1835 | SF | 8 | 4 | 22020
67 | Parapet Wall (4' H & 47 LF) (8") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #5 @ 48" O.C Fill Cell | 188 | SF | 8 | 4 | 2256
Roof
68 | Parapet Wall (2'-8" H & 201 LF) (8") Thick Concrete Masonary Unit Reinf W/ 1 #5 Rebar W/ 30" Splice @ Every Tie Down #5 @ 48" O.C Fill Cell | 523 | SF | 8 | 4 | 6276
| Subtotal (Masonry) | [5 empty] | 63058
DIVISION 05- METALS
69 | (3.5"x3.5"x5/16") HSS Column Grade B (3 EA & 12' H) | 457 | LBS | 4 | 2 | 2742
70 | Guardrail | 30 | LF | 38 | 8 | 1380
71 | Scupper W/ Metal Linear (24' H) | 8 | EA | 45 | 10 | 440
| Subtotal (Metals) | [5 empty] | 4562
DIVISION 08- OPENINGS
Doors
Ground Floor
72 | (1 3/8") Thick (2'-8"x8'-0") Wood Door W/ Wood Frame Hardware: Lever Hardware | 3 | EA | 1170.4 | 55 | 3676.2
73 | (1 3/8") Thick (2'-6"x8'-0") Wood Door W/ Wood Frame Hardware: Lever Hardware | 1 | EA | 1100 | 55 | 1155
74 | (1 3/8") Thick (2'-8"x8'-0") Aluminum Door W/ Wood Frame Hardware: -Metal Threshold -Weather Strip -Self Closing | 1 | EA | 1170.4 | 55 | 1225.4
75 | (1 3/8") Thick (3)(4'-0"x8'-0") Aluminum Door W/ Metal Frame Hardware: -Impact Resist Glass | 1 | EA | 1760 | 55 | 1815
76 | (1 3/8") Thick (9'-0"x9'-0") Aluminum Garage Door W/ Metal Frame | 1 | EA | 4455 | 55 | 4510
77 | (1 3/8") Thick (3'-0"x8'-0") Aluminum Door W/ Wood Frame Hardware: -Metal Threshold -Weather Strip -Self Closing | 1 | EA | 1320 | 55 | 1375
Door Trims
78 | Door Trims | 318 | LF | 2 | 2 | 1272
Second Floor
79 | (1 3/8") Thick (2)(3'-0"x8'-0") Aluminum Door W/ Metal Frame | 1 | EA | 1320 | 55 | 1375
80 | (1 3/8") Thick (2'-8"x8'-0") Wood Door W/ Wood Frame Hardware: -Lever Hardware | 4 | EA | 1170.4 | 55 | 4901.6
81 | (1 3/8") Thick (2'-6"x8'-0") Wood Door W/ Wood Frame Hardware: -Lever Hardware | 7 | EA | 1100 | 55 | 8085
82 | (1 3/8") Thick (2'-8"x8'-0") Aluminum Door W/ Metal Frame Hardware: -Metal Threshold -Weather Strip | 1 | EA | 1170.4 | 55 | 1225.4
83 | (1 3/8") Thick (2'-4"x8'-0") Wood Door W/ Wood Frame Hardware: -Lever Hardware | 1 | EA | 1025.2 | 55 | 1080.2
84 | (3'-0"x8'-0") Bath Door | 1 | EA | 1320 | 55 | 1375
Door Trims
85 | Door Trims | 561 | LF | 2 | 2 | 2244
Windows
86 | (24"x96") Fixed Glass W/ Door | 1 | EA | 880 | 55 | 935
87 | (54"x60") Aluminum Siding Window | 4 | EA | 1237.5 | 55 | 5170
88 | (36"x60") Aluminum Siding Window | 6 | EA | 825 | 55 | 5280
89 | (24"x48") Aluminum Siding Window | 1 | EA | 440 | 55 | 495
90 | (36"x48") Aluminum Siding Window | 3 | EA | 440 | 55 | 1485
91 | (24"x42") Aluminum Siding Window | 3 | EA | 385 | 55 | 1320
92 | (108"x36") Fixed Glass Window | 1 | EA | 1485 | 55 | 1540
Window Trims
93 | Window Trim | 437 | LF | 2 | 2 | 1748
| Subtotal (Openings) | [5 empty] | 53287.8
DIVISION 09- FINISHES
Exterior Finishes
94 | Stucco Scoreline | 154 | LF | 4 | 3 | 1078
95 | Stone Finish | 49.28 | SF | 3 | 2 | 246.4
96 | Smooth Finish Stucco | 6046 | SF | 3 | 2 | 30230
97 | (11'-0"x2'-0") Decorative Aluminum Louver | 1 | EA | 155 | 25 | 180
98 | (6'-0"x2'-0") Decorative Aluminum Louver | 1 | EA | 155 | 25 | 180
99 | (11'-6"x5'-0") Decorative Aluminum Louver | 1 | EA | 155 | 25 | 180
Walls
Ground Floor
(8") Exterior Wall (11'-6" H & 180 LF)
100 | (1/2") Gypsum Wall Board | 1730 | SF | 2 | 2 | 6920
101 | (1x2) Wood Strips/Furring @ 16" O.C | 1730 | SF | 3 | 2 | 8650
102 | R-41 Insulation In Cavities | 1730 | SF | 1 | 1 | 3460
103 | Weather Barrier (Assumed) | 1730 | SF | 1 | 1 | 3460
104 | Fire Stop/Sealant | 360 | LF | 1 | 1 | 720
(12") Exterior Wall (11'-6" H & 15 LF)
105 | (1/2") Gypsum Wall Board | 172.5 | SF | 2 | 2 | 690
106 | (1x2) Wood Strips/Furring @ 16" O.C | 172.5 | SF | 3 | 2 | 862.5
107 | R-41 Insulation In Cavities | 172.5 | SF | 1 | 1 | 345
108 | Weather Barrier (Assumed) | 172.5 | SF | 1 | 1 | 345
109 | Fire Stop/Sealant | 30 | LF | 1 | 1 | 60
(4") Interior Partition Wall (11'-6" H & 92 LF)
110 | (3 5/8") Metal Studs @ 24" O.C (47 EA & 539 LF) | 1055.24 | SF | 6 | 4 | 10552.4
111 | (1/2") Gypsum Wall Board | 2110.48 | SF | 2 | 2 | 8441.92
112 | Insulation (As Required) | 1055.24 | SF | 1 | 1 | 2110.48
113 | Sealant (As Required) | 367.04 | LF | 1 | 1 | 734.08
114 | Top & Bottom Runner | 183.52 | LF | 15 | 8 | 4220.96
(8") Interior Partition Wall (11'-6" H & 14 LF)
115 | (6") Metal Studs @ 24" O.C (8 EA & 94 LF) | 165.025 | SF | 8 | 12 | 3300.5
116 | (1/2") Gypsum Wall Board | 330.05 | SF | 2 | 2 | 1320.2
117 | Insulation (As Required) | 165.025 | SF | 1 | 1 | 330.05
118 | Sealant (As Required) | 57.4 | LF | 1 | 1 | 114.8
119 | Top & Bottom Runner | 28.7 | LF | 18 | 8 | 746.2
Second Floor
(8") Exterior Wall (11'-6" H & 171 LF)
120 | (1/2") Gypsum Wall Board | 1736.5 | SF | 2 | 2 | 6946
121 | (1x2) Wood Strips/Furring @ 16" O.C | 1736.5 | SF | 3 | 2 | 8682.5
122 | R-41 Insulation In Cavities | 1736.5 | SF | 1 | 1 | 3473
123 | Weather Barrier (Assumed) | 1736.5 | SF | 1 | 1 | 3473
124 | Fire Stop/Sealant | 342 | LF | 1 | 1 | 684
(12") Exterior Wall (11'-6" H & 15 LF)
125 | (1/2") Gypsum Wall Board | 172.5 | SF | 2 | 2 | 690
126 | (1x2) Wood Strips/Furring @ 16" O.C | 172.5 | SF | 3 | 2 | 862.5
127 | R-41 Insulation In Cavities | 172.5 | SF | 1 | 1 | 345
128 | Weather Barrier (Assumed) | 172.5 | SF | 1 | 1 | 345
129 | Fire Stop/Sealant | 30 | LF | 1 | 1 | 60
(4") Interior Partition Wall (11'-6" H & 208 LF)
130 | (3 5/8") Metal Studs @ 24" O.C (105 EA & 1208 LF) | 2392 | SF | 6 | 4 | 23920
131 | (1/2") Gypsum Wall Board | 4784 | SF | 2 | 2 | 19136
132 | Insulation (As Required) | 2392 | SF | 1 | 1 | 4784
133 | Sealant (As Required) | 832 | LF | 1 | 1 | 1664
134 | Top & Bottom Runner | 416 | LF | 15 | 8 | 9568
Roof
Parapet Wall (241 LF)
135 | Single Ply Base Flashing | 241 | LF | 6 | 4 | 2410
136 | Metal Termination Bar | 241 | LF | 6 | 4 | 2410
137 | Elastic Sealant | 241 | LF | 1 | 1 | 482
138 | Continuous Reglet | 241 | LF | 5 | 3 | 1928
Ceiling
Ground Floor
139 | (1/2") Gypsum Board Ceiling W/ Galvanized Metal Hi-Hats @ 16" O.C | 1398 | SF | 4 | 3 | 9786
140 | Drywall Soffit | 39.12 | LF | 4 | 3 | 273.84
141 | (1"x3") Metal Furring Strips @ 24" O.C | 1398 | SF | 3 | 2 | 6990
142 | R-19 Insulation | 1398 | SF | 1 | 1 | 2796
143 | (1"x6") Tongue & Groove Wood W/ (3 5/8") Metal Framing @ 16" O.C | 346 | SF | 2 | 2 | 1384
Second Floor
144 | (1/2") Gypsum Board Ceiling W/ Galvanized Metal Hi-Hats @ 16" O.C | 1142 | SF | 4 | 3 | 7994
145 | (1"x3") Metal Furring Strips @ 24" O.C | 1142 | SF | 4 | 3 | 7994
146 | R-19 Insulation | 1142 | SF | 1 | 1 | 2284
147 | (1"x6") Tongue & Groove Wood W/ (3 5/8") Metal Framing @ 16" O.C | 172 | SF | 2 | 2 | 688
Ceiling Paint
Ground Floor
148 | Smooth Finish Painted Ceiling | 1398 | SF | 2 | 2 | 5592
149 | (1"x6") Tongue & Groove Wood (Paint) | 346 | SF | 2 | 2 | 1384
Second Floor
150 | Smooth Finish Painted Ceiling | 1142 | SF | 2 | 2 | 4568
151 | (1"x6") Tongue & Groove Wood (Paint) | 172 | SF | 2 | 2 | 688
Finishes
Ground Floor
152 | (2") H. Wood Base Board | 236.17 | LF | 5 | 3 | 1889.36
153 | Marble Tile | 1137.9 | SF | 10 | 5 | 17068.5
154 | Polished Concrete | 346 | SF | 4 | 3 | 2422
155 | Exposed Concrete | 259.37 | SF | 4 | 3 | 1815.59
156 | Painted C.B.S | 656.305 | SF | 2 | 2 | 2625.22
157 | Smooth Finish Painted Dry Wall | 3603.18 | SF | 2 | 2 | 14412.72
158 | Marble Tile @ Bath (7' H) | 177.94 | SF | 10 | 5 | 2669.1
Second Floor
159 | (2") HGT. Wood Base Board | 355.29 | LF | 5 | 3 | 2842.32
160 | Wood Floor | 945.67 | SF | 6 | 4 | 9456.7
161 | Marble Tile | 195.63 | SF | 10 | 5 | 2934.45
162 | Smooth Finish Painted Drywall | 5883.055 | SF | 2 | 2 | 23532.22
163 | Marble Tile @ Bath (7' H) | 671.72 | SF | 10 | 5 | 10075.8
| Subtotal (Finishes) | [5 empty] | 325507.31
DIVISION 10- SPECIALTIES
Ground Floor
164 | Walk-In-Closet | 8 | LF | 155 | 35 | 1520
165 | Upper Cabinetry | 12 | LF | 95 | 30 | 1500
166 | Lower Cabinetry | 23 | LF | 95 | 30 | 2875
167 | Countertop | 84 | SF | 20 | 7 | 2268
Second Floor
168 | Walk-In-Closet | 41 | LF | 155 | 35 | 7790
169 | Cabinetry | 9 | LF | 95 | 30 | 1125
170 | Countertop | 17 | SF | 20 | 7 | 459
| Subtotal (Specialties) | [5 empty] | 17537
DIVISION 11- EQUIPMENT
Ground Floor
171 | Cat II Temp. Shower & Toilet Glass Enclosures | 1 | EA | 1150 | 100 | 1250
172 | Single Vanity Furniture | 1 | EA | 850 | 100 | 950
173 | (36") BBQ | 1 | EA | 1200 | 100 | 1300
174 | Out Door Summer Kitchen | 1 | EA | 200 | 100 | 300
175 | Out Door Single Sink | 1 | EA | 650 | 100 | 750
176 | 30" Microwave W/ Rec. Hood | 1 | EA | 1400 | 100 | 1500
177 | (36") Refrigerator/Freezer | 1 | EA | 2500 | 100 | 2600
178 | (30") Wall Oven | 1 | EA | 1400 | 100 | 1500
179 | (30") Electric Cooktop | 1 | EA | 2100 | 100 | 2200
180 | (24") Dish Washer | 1 | EA | 1400 | 100 | 1500
181 | Single Sink | 1 | EA | 650 | 100 | 750
182 | Cat II Temp. Glass Wine ENC. | 1 | EA | 1400 | 100 | 1500
Second Floor
183 | Air Handler | 1 | EA | 2800 | 200 | 3000
184 | Double Vanity Furniture | 1 | EA | 950 | 100 | 1050
185 | Cat II Temp. Shower & Toilet Glass Enclosures | 1 | EA | 1150 | 100 | 1250
186 | Washer | 1 | EA | 1400 | 100 | 1500
187 | Single Vanity Furniture | 2 | EA | 850 | 100 | 1900
| Subtotal (Equipment) | [5 empty] | 24800
DIVISION 26- ELECTRICAL
Ground Floor
188 | Duplex Receptacle | 20 | EA | 48 | 65 | 2260
189 | Duplex Receptacle W/ Ground Fault Current Interrupter | 14 | EA | 52 | 65 | 1638
190 | Duplex Receptacle W/ Ground Fault Current Interrupter & Weather Proof | 5 | EA | 55 | 65 | 600
191 | Disc. Switch | 4 | EA | 70 | 65 | 540
192 | 240 Volt Receptacle | 6 | EA | 48 | 65 | 678
193 | TV Cable Outlet | 2 | EA | 60 | 65 | 250
194 | Single Receptacle | 2 | EA | 60 | 65 | 250
195 | Single Receptacle W/ Ground Fault Interrupter | 2 | EA | 48 | 65 | 226
196 | Data Outlet | 1 | EA | 60 | 65 | 125
197 | Electrical Sub Panel 'P' | 1 | EA | 700 | 150 | 850
198 | Surface Mounted Panel 'A' | 1 | EA | 800 | 150 | 950
199 | Surface Mounted Panel 'B' | 1 | EA | 800 | 150 | 950
200 | Surface Mounted Panel 'L.V' | 1 | EA | 800 | 150 | 950
201 | New Electrical Meter 200A 208V/1PH/200 A | 1 | EA | 600 | 75 | 675
202 | Single Pole Toggle Switch | 20 | EA | 70 | 65 | 2700
203 | 3-Way Switch | 5 | EA | 70 | 65 | 675
204 | W.H#1 | 1 | EA | 70 | 65 | 135
205 | Smoke/Carbon Monoxide Detector | 3 | EA | 175 | 85 | 780
206 | Push Button | 1 | EA | 200 | 65 | 265
207 | Junction Box W/ Special Support For Fan & Light | 2 | EA | 600 | 75 | 1350
208 | Motor | 1 | EA | 600 | 75 | 675
209 | Exhaust Fan | 1 | EA | 500 | 75 | 575
210 | Hi-Hats Light | 38 | EA | 300 | 55 | 13490
211 | Incandescent Light Fixture | 2 | EA | 300 | 55 | 710
212 | Hi-Hats Light W/ Vapor Proof | 1 | EA | 350 | 55 | 405
Second Floor
213 | Duplex Receptacle | 20 | EA | 48 | 65 | 2260
214 | Duplex Receptacle W/ Ground Fault Current Interrupter | 4 | EA | 52 | 65 | 468
215 | Duplex Receptacle W/ Ground Fault Current Interrupter & Weather Proof | 4 | EA | 55 | 65 | 480
216 | Disc. Switch | 2 | EA | 70 | 65 | 270
217 | 240 Volt Receptacle | 3 | EA | 48 | 65 | 339
218 | W.H#2 | 1 | EA | 60 | 65 | 125
219 | TV Cable Outlet | 3 | EA | 60 | 65 | 375
220 | Exhaust Fan | 3 | EA | 500 | 75 | 1725
221 | Junction Box W/ Special Support For Fan & Light | 5 | EA | 600 | 75 | 3375
222 | Smoke/Carbon Monoxide Detector | 5 | EA | 175 | 85 | 1300
223 | Single Pole Toggle Switch | 22 | EA | 70 | 65 | 2970
224 | 3-Way Switch | 3 | EA | 70 | 65 | 405
225 | Hi-Hats Light | 49 | EA | 300 | 55 | 17395
226 | Hi-Hats Light W/ Vapor Proof | 3 | EA | 350 | 55 | 1215
| Subtotal (Electrical) | [5 empty] | 65404
SUBTOTAL | [6 empty] | 697342.835
OVERHEAD & PROFIT |  | 15% |  |  |  |  | 104601.4252
INSURANCE |  | 3% |  |  |  |  | 20920.285
CONTINGENCY |  | 7% |  |  |  |  | 48813.9984
TOTAL BASE BID | [6 empty] | 871678.5437